- CYCLICAL MAINTENANCE 2026/27

| Element of Work | Details | Number of Units and Budget Cost | Update |
| --- | --- | --- | --- |
| External Painting | Broom Estate, EHI/ MTR | 20 units £24,000 | Properties to be inspected to see extent of work required. |
| EICR (Electrical testing) | Various Properties plus contingency for voids | 224 Units £67,200 | EICRS due as per schedule. Includes some due Apr 2027 to ensure done before 5 year anniversary date. |
| Pointing - Mastic | Sites as per painting schedule | £3,060 | May not be required |

- PLANNED MAINTENANCE 2026/27

| Element of Work | Details | Number of Units and Budget Cost | Update |
| --- | --- | --- | --- |
| Bathrooms | Collydean Estate – Wilmington Drive | 104 Units £436,800 | Includes for all 104 properties on the street ( minus those with wet floor showers and those recently replaced). |
| Boilers and Heating Systems | Ongoing as required | Approx 100 units £404,184 | Contingency amount always included for breakdowns plus those past their useful life. Although some boilers are over their 15 years expected life we only replace when boilers are beyond economical repair. |
| Fencing Works | Various Sites | £180,000 as per budget | Work following on from last year and being prioritised by Estates Officer working with fencing contractor. |
| Kitchens | EHI/ MTR Properties | 10 units £48,000 | Kitchens will be inspected by staff initially to determine if replacement required. |
| Render -roughcast | Broom Estate / Collydean Estate | £42,000 | Included as a contingency amount. |

| Element of Work | Details | Number of Units and Budget Cost | Update |
| --- | --- | --- | --- |
| Doors /Windows | Broom Estate / Collydean Estate | 9 Units £42,252 | Allowance for the 3 properties not completed on original programme and outstanding 6 x fire doors not completed by end of year due to supply issues. |
| Track & hoist | Various | 2 Units £13,687 | Allowance for 2 properties where track at end of notional life. Work will only be done if Service Engineer reports back safety issue or un-economical to repair. |
| NZHF | Rockfield Gardens | 30 Units £778,633 | Conclusion of NZHF project at Rockfield Gardens. (Scottish Government grant fully utilised May 2026) |

Ian Byers

Housing Manager

May 2026